## How to fill
Standard systems list — how to fill (v0.2)
What this list does
The energy calculator recommends from this list: the smallest active system for the segment whose usable battery capacity and inverter size cover the customer's need, plus one size smaller and one larger.
Price is shown as a range with equipment, installation and GST as separate lines. It already includes iTarang's margin. The final price always comes from the EPC partner's quote.
The live list is maintained in the iTarang Admin portal and changes go live after Ecofy approves them. Use this file for a bulk import.
Brands are not part of a standard system; the EPC partner names them in its quote.
What to edit
Fill only the sheet named “Systems”, one standard system per row, starting from row 2. Do not rename the column headers.
Dark blue headers are mandatory; light blue are optional. The “Example” sheet shows the format.
Rules
system_code must be unique. usable_capacity_kwh cannot exceed battery_capacity_kwh. price_max_inr cannot be below price_min_inr.
To retire a system, set active to N rather than deleting the row, so older assessments still show what was recommended.
Update price_updated_on every time a price changes. The portal flags ranges older than the refresh period (default 30 days).

## Systems
system_code | system_name | for_resi | for_ess | for_ci | system_type | battery_capacity_kwh | usable_capacity_kwh | battery_chemistry | inverter_kva | inverter_type | phase | solar_kwp | expandable | max_expansion_kwh | battery_warranty_years | inverter_warranty_years | equipment_price_min_inr | equipment_price_max_inr | installation_price_min_inr | installation_price_max_inr | gst_pct | price_updated_on | epc_partners | active | notes

## Example
ILLUSTRATIVE VALUES ONLY — not real products or prices. Do not upload this sheet.
system_code | system_name | for_resi | for_ess | for_ci | system_type | battery_capacity_kwh | usable_capacity_kwh | battery_chemistry | inverter_kva | inverter_type | phase | solar_kwp | expandable | max_expansion_kwh | battery_warranty_years | inverter_warranty_years | equipment_price_min_inr | equipment_price_max_inr | installation_price_min_inr | installation_price_max_inr | gst_pct | price_updated_on | epc_partners | active | notes
RESI-S3-B5 | 3 kWp solar + 5 kWh battery | Y | N | N | Solar + storage | 5 | 4.5 | LFP | 5 | Hybrid | Single | 3 | Y | 10 | 10 | 5 | 210000 | 250000 | 15000 | 25000 | 12 | 15-09-2026 |  | Y
ESS-B15 | 15 kWh storage, 10 kVA | N | Y | Y | Storage only | 15 | 13.5 | LFP | 10 | Off-grid | Three | 0 | Y | 30 | 10 | 5 | 480000 | 560000 | 20000 | 35000 | 12 | 15-09-2026 |  | Y

## Field guide
Standard systems — field guide
# | Column | Required | Format / allowed values | Example | Why we need it
1 | system_code | Yes | Unique short code | RESI-S3-B5 | How quotes and assessments refer to the system.
2 | system_name | Yes | Text | 3 kWp solar + 5 kWh battery | Name shown in the calculator.
3 | for_resi | Yes | Y / N | Y | Which segments can be offered this system.
4 | for_ess | Yes | Y / N | N | Which segments can be offered this system.
5 | for_ci | Yes | Y / N | N | Which segments can be offered this system.
6 | system_type | Yes | Solar + storage / Storage only / Solar only | Solar + storage | Filters recommendations by what the customer wants.
7 | battery_capacity_kwh | Yes | Number. 0 for solar only. | 5 | Nominal battery size.
8 | usable_capacity_kwh | Yes | Number, not more than battery_capacity_kwh. 0 for solar only. | 4.5 | The calculator matches the customer's need against usable, not nominal, capacity.
9 | battery_chemistry | Recommended | LFP / NMC / Other | LFP | Warranty and lifecycle.
10 | inverter_kva | Yes | Number | 5 | Must cover the customer's load, including motor starting.
11 | inverter_type | Yes | Hybrid / Off-grid / On-grid | Hybrid | Decides whether solar and battery work together.
12 | phase | Yes | Single / Three | Single | Must match the customer's electricity connection.
13 | solar_kwp | Yes | Number. 0 for storage only. | 3 | Solar size offered.
14 | expandable | Optional | Y / N | Y | Whether battery capacity can be added later.
15 | max_expansion_kwh | Optional | Number | 10 | Upper limit if expandable.
16 | battery_warranty_years | Recommended | Whole number | 10 | Shown with the recommendation.
17 | inverter_warranty_years | Recommended | Whole number | 5 | Shown with the recommendation.
18 | equipment_price_min_inr | Yes | Whole number, rupees, before GST | 210000 | Low end of the equipment price range.
19 | equipment_price_max_inr | Yes | Whole number, rupees, before GST; not below the minimum | 250000 | High end of the equipment price range.
20 | installation_price_min_inr | Yes | Whole number, rupees, before GST | 15000 | Installation shown separately.
21 | installation_price_max_inr | Yes | Whole number, rupees, before GST; not below the minimum | 25000 | Installation shown separately.
22 | gst_pct | Yes | Number, e.g. 12 for 12% | 12 | GST shown separately on the range.
23 | price_updated_on | Yes | DD-MM-YYYY | 15-09-2026 | Ranges older than the refresh period get flagged.
24 | epc_partners | Optional | Text, comma-separated |  | Which EPC partners can supply this system.
25 | active | Yes | Y / N | Y | Only active systems are recommended.
26 | notes | Optional | Text |  | Anything the caller should know.

## Lists
yn | system_type | chemistry | inverter_type | phase
Y | Solar + storage | LFP | Hybrid | Single
N | Storage only | NMC | Off-grid | Three
| Solar only | Other | On-grid